Snowcrest Heights Improvement Association (SHIA)

Board Meeting Minutes; December 19, 2014

Attendance:

Board Members:

Glacier Tract (GL) – Rodney Schaerer (27), Kathy Louche (11)

Icehouse Canyon (ICE), Upper San Antonio Falls (USA), Private (Pvt)  				-  Paul Hannosh (P2), Jim Kuhlman (P4&5)

Manker (M) – Roger Watford (16), Paul Gillingswators (31)

San Antonio Falls (SAF) –

At Large – Robbie Warrner (ICE 46)

Meeting started at 10:10.  Seven SHIA Board of Directors (BoD) present; a quorum is met.

Previous Meeting Minutes:

The October 10, 2014 secretary minutes were approved.  Paul G. moved & Robbie seconded.

Treasurer’s Report:

Paul H. presented the treasurer’s report.  Robbie moved and Paul G. seconded; the treasurer’s report was approved

The board seemed to feel that the current bank’s service was not very good and their fees were too high.  Paul will look into getting another bank and will report back to the BoD.  Paul H. will research the National Forest Homeowners (NFH) membership and prepare to present the details at the next General Membership meeting.

Water Systems:

Spring #5: 32-35 gallons per minute (gpm); 3 days on & 4 days off

Chapman/Minich: 3-5 gpm

Manker Spring & Horizontal Wells: 4-6 gpm

Total System output and total system demand: 8-10 gpm, holding constant

Planned Repair and Maintenance:

Rodger is preparing the system for winter.

Rodger will look into chlorination mechanisms and get back to the BoD.

USFS Improvement Projects:

Chapman Spring sanitary seal: no report

Tank #2 Retrofit: no report

Campground Main Replacement project: no report

Arsenic Treatment System: no report

Customer Balance Sheet:

Paul reviewed the delinquent cabin owner’s accounts with the BoD.  Seven cabins have had their water shut off.  Three have a negotiated payment plan in place.  Two have reminder statement sent.  One has a shut off order issued.

Emergency Notification Plan:

No report.

Delinquent Payment and Shut-Off Notice Management Rules:

No report.

SHIA Website:

The secretary has posted the approved August 15 BoD meeting minutes and the proposed Fall General minutes (still awaiting fall 2016 general membership approval) on the SHIA web site.

Meeting adjourned at 12:10 pm.

Reminder: General Membership Meeting Dates:

Spring 2016...May 15th

Fall 2016…....September 11th

Spring 2017…May 14th

Fall 2017……September 10th

Secretary Rodney Schaerer